Tools and equipment: portable power-operated

Do grinders, saws, and similar equipment have appropriate safety guards?

Are power tools used with the shield or guard that the manufacturer recommends?

Are portable circular saws equipped with guards above and below the base shoe?

Are circular saw guards checked to ensure guarding of the lower blade portion?

Are rotating or moving parts of equipment guarded to prevent physical contact?

Are all cord-connected, electrically-operated tools and equipment either grounded or of the approved double-insulated type?

Are effective guards in place over belts, pulleys, chains, and sprockets on equipment such as concrete mixers, air compressors, and the like?

Are portable fans provided with full guards having openings of 1⁄2 inch or less?

Is hoisting equipment available and used for lifting heavy objects, and are hoist ratings and characteristics appropriate for the task?

Are ground-fault circuit interrupters (on all temporary electrical 15-, 20-, and 30-ampere circuits) used during periods of construction?

Or  Is there an assured equipment-grounding conductor program in place during periods of construction?

Are pneumatic and hydraulic hoses on power-operated tools checked regularly for deterioration or damage?